{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["IVUS表单","OCT表单","靶段信息表"],"read":"whole","date_system":"1900"}

{"sheet":"IVUS表单","index":0,"n_rows":33,"n_cols":5,"rows_kept":33,"merged":[[1,0,2,3],[3,0,3,3],[4,0,4,3],[6,0,6,3],[11,0,11,3],[20,0,20,3],[22,0,22,3],[28,0,28,3],[29,4,32,4]]}
[]
["IVUS-eICRF"]
[]
["影像质量"]
["影像质量评估：正常|不正常"]
[]
["测量值"]
["【靶段信息】：下拉框选择"]
["【备注】：Other时触发"]
["【回撤中的图像帧数】"]
["【分析图像帧数】"]
["各匹配片段测量值（导入）"]
["【斑块编号】","【外弹力膜面积】","【管腔面积】","【外弹力膜与管腔面积差值】","测量值一般两位数，单位平方毫米，精确到小数点后两位（四舍五入）【例40.12 】"]
[1,"测量值1","测量值A","自动计算值X"]
[1,"测量值2","测量值B","自动计算值X"]
[1,"测量值3","测量值C","自动计算值X"]
[2,"测量值1","测量值A","自动计算值Y"]
[2,"测量值2","测量值B","自动计算值Y"]
[3,"测量值1","测量值A","自动计算值Z"]
[3,"测量值2","测量值B","自动计算值Z"]
["（以上为多记录，每1mm测量一组数值）【 * 斑块个数范围为1个-3个，最多3个】"]
[]
["计算值"]
["【斑块编号】","【EEM求和】","【(EEM-Lumen)求和】"]
[1,"自动计算值1","自动计算值1"]
[2,"自动计算值2","自动计算值2"]
[3,"自动计算值3","自动计算值3"]
[]
["评估结果"]
["【斑块编号】","【冠状动脉粥样硬化体积百分比（PAV）】",null,null,"  **任一斑块PAV值＞5，都会触发裁判"]
[1,"自动计算值1"]
[2,"自动计算值2"]
[3,"自动计算值3"]

{"sheet":"OCT表单","index":1,"n_rows":36,"n_cols":11,"rows_kept":36,"merged":[[1,0,2,9],[3,0,3,3],[3,8,3,9],[4,0,4,5],[7,0,7,5],[7,8,7,9],[10,8,10,9],[19,0,19,5],[20,8,20,9],[28,0,28,5],[30,0,30,3],[30,8,30,9],[31,10,36,10],[32,7,35,7],[35,1,36,1],[35,2,36,2],[35,3,36,3],[35,6,36,6],[35,8,36,8],[35,9,36,9]]}
[]
["OCT-eICRF"]
[]
["影像质量"]
["影像质量评估：正常|不正常"]
[]
[]
["测量值"]
["【靶段信息】：下拉框选择"]
["【备注】：Other时触发"]
["FCT（支持录入/导入）",{"$nulls":9},"单位微米，测量值为整数，平均值有小数，取小数点后1位（四舍五入）【例71.0、34.5】"]
["【斑块编号】","【第一次测量值】","【第二次测量值】","【第三次测量值】","【平均值】"]
[1,"第一次测量值1","第二次测量值1","第三次测量值1","自动计算值A"]
[1,"第一次测量值2","第二次测量值2","第三次测量值2","自动计算值B"]
[1,"第一次测量值3","第二次测量值3","第三次测量值3","自动计算值C"]
[2,"第一次测量值1","第二次测量值2","第三次测量值1","自动计算值A"]
[2,"第一次测量值2","第二次测量值2","第三次测量值2","自动计算值B"]
[3,"第一次测量值1","第二次测量值2","第三次测量值1","自动计算值A"]
[3,"第一次测量值2","第二次测量值2","第三次测量值2","自动计算值B"]
["（以上为多记录，每1mm测量一组数值）"]
["脂质角度（支持录入/导入）",{"$nulls":9},"单位度，测量值为整数，平均值有小数，取小数点后1位（四舍五入）【例138.0°、137.5°】"]
["【斑块编号】","【测量值】"]
[1,"测量值1"]
[1,"测量值2"]
[2,"测量值1"]
[2,"测量值2"]
[3,"测量值1"]
[3,"测量值2"]
["（以上为多记录，每1mm测量1次）"]
[]
["评估结果"]
["【斑块编号】","【斑块类型】","【匹配动脉段最小FCT 】","【平均最小FCT 】","【脂质角度平均值】","【脂质角度最大值】","【巨噬细胞浸润】","*当巨噬细胞选择<有>时","【微通道】","【胆固醇结晶】","  **任一斑块最小FCT测量差异＞20微米，都会触发裁判"]
[1,"脂质斑块|纤维斑块","自动计算值","自动计算值","自动计算值","自动计算值","有|无","① 触发值【有】\n② 填写数值[文本框输入]\n③ 单位度，范围＜360°\n④ 例：角度 135 ° ","有|无","有|无"]
[2,"脂质斑块|纤维斑块","自动计算值","自动计算值","自动计算值","自动计算值","有|无",null,"有|无","有|无"]
[3,"脂质斑块|纤维斑块","自动计算值","自动计算值","自动计算值","自动计算值","有|无",null,"有|无","有|无"]
[null,"[下拉框选择]","*算法：平均值的最小值","*算法：平均值的平均值",null,null,"[下拉框选择]",null,"[下拉框选择]","[下拉框选择]"]

{"sheet":"靶段信息表","index":2,"n_rows":19,"n_cols":1,"rows_kept":19}
["(dLAD)Distal Left Anterior Descending Artery"]
["(dRCA)Distal Right Coronary Artery"]
["(D1)First Diagonal Branch"]
["(OM1)First Obtuse Marginal"]
["(LM)Left Main"]
["(LCx)Mid and Distal Left Circumflex Artery"]
["(mLAD)Mid Left Anterior Descending Artery"]
["(mRCA)Mid Right Coronary Artery"]
["(L-PDA)Posterior Descending Artery from Left Circumflex Artery"]
["(R-PDA)Posterior Descending Artery from Right Coronary Artery"]
["(L-PLB)Posterior-lateral Branch from Left Circumflex Artery"]
["(R-PLB)Posterior-lateral Branch from Right Coronary Artery"]
["(pLAD)Proximal Left Anterior Descending Artery"]
["(pCx)Proximal Left Circumflex Artery"]
["(pRCA)Proximal Right Coronary Artery"]
["(RI)Ramus Intermedius"]
["(D2)Second Diagonal Branch"]
["(OM2)Second Obtuse Marginal"]
["Other(需要备注)"]