{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["设计表单","展示页面"],"not_rendered":{"images":4},"read":"whole","date_system":"1900"}

{"sheet":"设计表单","index":0,"n_rows":24,"n_cols":14,"rows_kept":24}
["MRI-PDFF标准配置"]
["序号","分组名称","问题名称","类型","选项","基线是否显示","随访是否显示","是否必填","是否裁判问题","显示依赖父问题","显示触发值","必填依赖父问题","必填触发值","操作"]
[1,"影像质量",null,"分组",null,"是","是",{"$nulls":6},"编辑/删除"]
[2,"测量值",null,"分组",null,"是","是"]
[3,"评估结果",null,"分组",null,"是","是"]
[4,"影像质量","影像质量评估","单选框","正常/不正常","是","是","是","否",{"$nulls":4},"编辑/删除"]
[5,"影像质量","质量问题","下拉框单选","解剖不完整/扫描断层丢失/存在运动伪影/关键解剖部位缺失/其它（需要备注）","依赖","依赖","依赖","否","影像质量评估","不正常","影像质量评估","不正常","编辑/删除"]
[6,"影像质量","质量备注","文本框",null,"依赖","依赖","依赖","否","质量问题","其它（需要备注）","质量问题","其它（需要备注）","编辑/删除"]
[7,"测量值","分段MRI-PDF","病灶表格",null,"是","是","否","否",{"$nulls":4},"表格内容/编辑/删除"]
[8,"评估结果","肝脏MRI-PDFF","自动计算",null,"否","是","是","是",{"$nulls":4},"编辑/删除"]
[9,"评估结果","脂肪肝分段","下拉框","0级/1级/2级/3级/NE","是","是","是","否",{"$nulls":4},"编辑/删除"]
[10,"评估结果","访视点备注","多行文本框",null,null,"否",{"$nulls":4},"编辑/删除"]
[]
["脂肪分数"]
["最小行数",0]
["最大行数",8,"+"]
["录入形式","表格/表单"]
["序号","列名称","类型","选项","是否显示",null,"是否必填","显示依赖父问题","显示触发值","必填依赖父问题","必填触发值","操作"]
[1,"分段名","下拉框","肝脏分段","是",null,"是",{"$nulls":4},"编辑/删除"]
[2,"是否可测量","下拉框",null,"是",null,"是",{"$nulls":4},"编辑/删除"]
[3,"第一次测量","自动计算",null,"是",null,"依赖","是否可测量","是","是否可测量","是","编辑/删除"]
[4,"第二次测量","自动计算",null,"是",null,"依赖","是否可测量","是","是否可测量","是","编辑/删除"]
[5,"第三次测量","自动计算",null,"是",null,"依赖","是否可测量","是","是否可测量","是","编辑/删除"]
[6,"MRI-PDFF","自动计算",null,"是",null,"依赖","是否可测量","是","是否可测量","是","编辑/删除"]

{"sheet":"展示页面","index":1,"n_rows":38,"n_cols":25,"rows_kept":38,"merged":[[0,7,0,10],[7,7,7,9],[28,7,28,9]]}
["MRI-PDFF评估报告页面",{"$nulls":6},"MRI-PDFF评估阅片页面"]
[null,"BL","V1","V2","V3","V4",null,"一、初始化",{"$nulls":3},"！","数据是否完整"]
["影像质量",{"$nulls":6},"影像质量",{"$nulls":3},"数据完整："]
["影像质量评估",{"$nulls":6},"影像质量评估","正常","不正常",null,"1、可测量为否"]
["质量问题",{"$nulls":6},"质量问题",{"$nulls":3},"2、可测量为是，MRI-PDFF有值"]
["质量备注",{"$nulls":6},"质量备注"]
["测量值",{"$nulls":6},"测量值"]
["分段MRI-PDFF",{"$nulls":6},"MRI-PDFF"]
["分段1","MRI-PDFF",{"$nulls":5},"分段","平均值","可测量",null,"点击一行数据："]
["第一次测量",{"$nulls":5},"L01","！肝I段 （尾状叶）",null,"是",null,null,"肝脏分段*","肝I段 （尾状叶）"]
["第二次测量",{"$nulls":5},"L02","！肝II段（左外叶上段）",null,"否",null,null,"是否可测量*","是/否",{"$nulls":8},"按钮交互："]
["第三次测量",{"$nulls":5},"L03","！肝III段（左外叶下段）",{"$nulls":4},"第一次测量",15,"<测量>","<清除>","<保存>","1、清除、保存按钮在点击测量画完标记后才出现",{"$nulls":4},"测量","画完标记后，前端记录本次测量的标记和记录值；验证三次测量是否有值，有值则计算平均值"]
["MRI-PDFF",{"$nulls":5},"L04","！肝IV段（左内页）",{"$nulls":4},"第二次测量",25,"<测量>","<清除>","<保存>","2、画完标记后，定圆标记内的像素平均值Mean作为测量值",{"$nulls":4},"清除","清除前端本次测量的标记和记录值，不清除数据库的值；清除前端平均值"]
["分段1","MRI-PDFF",{"$nulls":4},"L05","！肝V段（右前叶下段）",{"$nulls":4},"第三次测量",30,"<测量>","<清除>","<保存>","3、标记名称：",{"$nulls":4},"单行保存：","保存本次测量的标记以及记录值，计算平均值，并保存所有问题。其他测量结果如果未保存则会丢失；"]
["第一次测量",{"$nulls":5},"L06","！肝VI段（右后叶下段）",{"$nulls":4},"MRI-PDFF*",{"$nulls":5},"L-I-01","L01-01",null,null,"行记录保存;","验证问题是否完整"]
["第二次测量",{"$nulls":5},"L07","！肝VII段（右后叶上段）",{"$nulls":8},"<保存>",null,"L-I-02","L01-02",{"$nulls":3},"保存3次测量的标记以及记录值"]
["第三次测量",{"$nulls":5},"L08","！肝VIII段（右前叶上段）",{"$nulls":10},"L-I-03","L01-03",{"$nulls":3},"前端计算平均值，并提交数据库"]
["MRI-PDFF"]
["评估结果",{"$nulls":21},"单次保存;","保存本次测量的标记以及记录值"]
["肝脏MRI-PDFF",{"$nulls":22},"计算平均值？","其他标记"]
["脂肪肝分段"]
["访视点备注"]
[{"$nulls":7},"二、测量后"]
[{"$nulls":7},"影像质量"]
[{"$nulls":7},"影像质量评估","正常","不正常"]
[{"$nulls":7},"质量问题"]
[{"$nulls":7},"质量备注"]
[{"$nulls":7},"测量值"]
[{"$nulls":7},"MRI-PDFF"]
[{"$nulls":7},"分段","平均值","可测量",null,"点击一行数据："]
[{"$nulls":7},"肝I段 （尾状叶）",10,"是",null,null,"肝脏分段","肝I段 （尾状叶）"]
[{"$nulls":7},"肝II段（左外叶上段）",10,"是",null,null,"是否可测量","是",{"$nulls":8},"按钮交互："]
[{"$nulls":7},"肝III段（左外叶下段）",20,"是",null,null,"第一次测量",5,"<查看>","<清除>","<保存>","保存按钮在标记有更改才出现",{"$nulls":4},"编辑","移动标记后，前端更新本次测量的标记和记录值；验证三次测量是否有值，有值则计算平均值"]
[{"$nulls":7},"肝IV段（左内页）",10,"是",null,null,"第二次测量",15,"<查看>","<清除>","<保存>",{"$nulls":5},"清除","清除前端本次测量的标记和记录值，不清除数据库的值；清除前端平均值"]
[{"$nulls":7},"肝V段（右前叶下段）",10,"是",null,null,"第三次测量",10,"<查看>","<清除>","<保存>",{"$nulls":5},"行记录保存;","验证问题是否完整"]
[{"$nulls":7},"肝VI段（右后叶下段）",10,"是",null,null,"MRI-PDFF",10,{"$nulls":9},"保存3次测量的标记以及记录值"]
[{"$nulls":7},"肝VII段（右后叶上段）","NA","否",{"$nulls":6},"<保存>",{"$nulls":6},"前端计算平均值，并提交数据库"]
[{"$nulls":7},"肝VIII段（右前叶上段）",10,"是",{"$nulls":12},"单行保存：","保存本次测量的标记以及记录值，计算平均值，并保存所有问题。其他测量结果如果未保存则会丢失；"]