{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":60,"n_cols":4,"rows_kept":60}
[null,"基线","上一次访视","本次访视"]
["靶病灶径线之和（SOD）","50（5个淋巴结靶病灶，短径都为9）"]
["非淋巴结靶病灶长径之和"]
["与基线相比SOD变化量"]
["与基线相比SOD变化百分比"]
["与最低点相比SOD变化量"]
["与最低点相比SOD变化百分比"]
["最低点访视"]
["最低点访视SOD",null,"45（5个淋巴结靶病灶，短径都为9）","14（一个淋巴结靶病灶，短径为13）"]
["存在非淋巴结靶病灶"]
["存在淋巴结靶病灶且比上一访视短径增加5mm以上"]
["存在被评估为NE的单个靶病灶","否","否","是"]
["淋巴结非靶病灶数量",0,0,0]
["靶病灶评估"]
["非靶病灶评估"]
["存在新病灶"]
["存在疾病"]
["整体肿瘤评估",null,"CR","PR"]
["访视点备注"]
[]
[]
[null,"基线","上一次访视","本次访视"]
["靶病灶径线之和（SOD）","50（5个淋巴结靶病灶，短径都为9）"]
["非淋巴结靶病灶长径之和"]
["与基线相比SOD变化量"]
["与基线相比SOD变化百分比"]
["与最低点相比SOD变化量"]
["与最低点相比SOD变化百分比"]
["最低点访视"]
["最低点访视SOD",null,"45（5个淋巴结靶病灶，短径都为9）","14（一个淋巴结靶病灶，短径为13）"]
["存在非淋巴结靶病灶"]
["存在淋巴结靶病灶且比上一访视短径增加5mm以上"]
["存在被评估为NE的单个靶病灶","否","否","是"]
["淋巴结非靶病灶数量",0,0,0]
["靶病灶评估"]
["非靶病灶评估"]
["存在新病灶"]
["存在疾病"]
["整体肿瘤评估",null,"CR","NE"]
["访视点备注"]
[]
[null,"基线","上一次访视","本次访视"]
["靶病灶径线之和（SOD）","50（5个淋巴结靶病灶，短径都为9）"]
["非淋巴结靶病灶长径之和"]
["与基线相比SOD变化量"]
["与基线相比SOD变化百分比"]
["与最低点相比SOD变化量"]
["与最低点相比SOD变化百分比"]
["最低点访视"]
["最低点访视SOD",null,"45（5个淋巴结靶病灶，短径都为9）","8（一个淋巴结靶病灶，短径为8）"]
["存在非淋巴结靶病灶"]
["存在淋巴结靶病灶且比上一访视短径增加5mm以上"]
["存在被评估为NE的单个靶病灶","否","否","是"]
["淋巴结非靶病灶数量",0,0,0]
["靶病灶评估"]
["非靶病灶评估"]
["存在新病灶"]
["存在疾病"]
["整体肿瘤评估",null,"CR","CR"]
["访视点备注"]