{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["【表单沟通示例】IVUS","【表单沟通示例】OCT ","各匹配片段测量值","FCT","脂质角度"],"not_rendered":{"comments":1},"read":"whole","date_system":"1900"}

{"sheet":"【表单沟通示例】IVUS","index":0,"n_rows":61,"n_cols":9,"rows_kept":61,"merged":[[0,0,0,3],[1,0,1,3],[2,0,2,3],[6,0,6,3],[7,0,7,3],[8,4,15,4],[16,0,16,3],[17,0,17,3],[18,0,18,3],[19,4,22,4],[23,0,23,3],[24,0,24,3],[25,4,28,4],[31,4,33,4],[36,0,36,3],[37,0,37,7],[38,0,38,7],[39,0,40,0],[39,1,39,3],[39,4,39,6],[39,7,40,7],[39,8,42,8],[44,0,44,5],[45,0,46,0],[45,1,45,2],[45,3,45,4],[45,5,46,5],[45,6,48,6],[50,0,50,3],[51,0,52,0],[51,3,52,3],[51,4,54,4],[56,0,56,7],[57,0,57,7],[58,0,59,0],[58,1,58,3],[58,4,58,6],[58,7,59,7],[58,8,61,8]]}
["一、访视阅片"]
["IVUS-eICRF"]
["分组-影像质量"]
["影像质量评估：","正常|不正常"]
["质量问题："]
["质量备注："]
["分组-测量值（下载模板、导入数据）",{"$nulls":3},"测量值导入（制定一个表格填写规则，阅片人按照我们的表格填写，可参考附表）"]
["表-各匹配片段测量值"]
["【Plaque No.】","【EFMarea】","【Lumenarea】","【EFMarea-Lumenarea】","1）测量值一般两位数，单位平方毫米，精确到小数点后两位（四舍五入）【例40.12 】。\n2、数据通过表格导入。导入时需要验证数据格式是否符合要求"]
[1,"测量值1","测量值A","自动计算值X"]
[1,"测量值2","测量值B","自动计算值X"]
[1,"测量值3","测量值C","自动计算值X"]
[2,"测量值4","测量值D","自动计算值Y"]
[2,"测量值5","测量值E","自动计算值Y"]
[3,"测量值6","测量值F","自动计算值Z"]
[3,"测量值7","测量值C","自动计算值Z"]
["（以上为多记录，每1mm测量一组数值）【 * 斑块个数范围为1个-3个，最多3个】"]
["分组-计算值"]
["表-斑块数据统计"]
["【Plaque No.】","【∑EFMarea】","【∑EFMarea-Lumenarea】",null,"1）根据表-各匹配片段测量值的数据统计。\n2）斑块编号与表-各匹配片段测量值中一致，为聚类值。最多为3条记录，最少为1条记录"]
[1,"自动计算值1","自动计算值1"]
[2,"自动计算值2","自动计算值2"]
[3,"自动计算值3","自动计算值3"]
["分组-评估结果"]
["表-冠状动脉粥样硬化体积百分比（PAV）"]
["【Plaque No.】","【PAV】",null,null,"1）根据表-斑块数据统计计算；\n2）斑块编号与表-斑块数据统计中一致。最多为3条记录，最少为1条记录"]
[1,"自动计算值1"]
[2,"自动计算值2"]
[3,"自动计算值3"]
[]
["访视点备注","文本",null,null,"非必填，多行文本"]
["斑块1-PAV","自动计算值1",null,null,"裁判问题（在阅片时不显示，值来源于表-冠状动脉粥样硬化体积百分比（PAV））\n触发裁判条件：\n1、斑块数一样，两个阅片人的任一斑块PAV值＞5，都会触发裁判；\n2、斑块数不一样，触发裁判。\n需要考虑如何保证序号相同的斑块是同一斑块，要求阅片人按照顺序进行标记斑块。"]
["斑块2-PAV","自动计算值2"]
["斑块3-PAV","自动计算值3"]
[]
[]
["二、裁判阅片"]
["（一）当R1，R2标记的斑块数一样"]
["IVUS-eICRF"]
["访视名称","第一阅片人(R1)",null,null,"第二阅片人（R2）",null,null,"查看详情","标记有3个斑块的"]
[null,"斑块1-PAV","斑块2-PAV","斑块3-PAV","斑块1-PAV","斑块2-PAV","斑块3-PAV"]
["访视1","数值","数值","数值","数值","数值","数值","R1   R2"]
[]
[]
["IVUS-eICRF"]
["访视名称","第一阅片人(R1)",null,"第二阅片人（R2）",null,"查看详情","标记有2个斑块的"]
[null,"斑块1-PAV","斑块2-PAV","斑块1-PAV","斑块2-PAV"]
["访视1","数值","数值","数值","数值","R1   R2"]
[]
[]
["IVUS-eICRF"]
["访视名称","第一阅片人(R1)","第二阅片人（R2）","查看详情","标记有1个斑块的"]
[null,"斑块1-PAV","斑块1-PAV"]
["访视1","数值","数值","R1   R2"]
[]
[]
["（二）当R1，R2标记的斑块数不一样"]
["IVUS-eICRF"]
["访视名称","第一阅片人(R1)",null,null,"第二阅片人（R2）",null,null,"查看详情","IR没有标记的斑块对应的值赋值为NE"]
[null,"斑块1-PAV","斑块2-PAV","斑块3-PAV","斑块1-PAV","斑块2-PAV","斑块3-PAV"]
["访视1","数值","数值","数值","数值","数值","NE","R1   R2"]

{"sheet":"【表单沟通示例】OCT ","index":1,"n_rows":65,"n_cols":9,"rows_kept":65,"merged":[[0,0,0,3],[1,0,2,5],[3,0,3,3],[4,0,4,5],[7,0,7,3],[7,4,7,5],[8,0,8,3],[8,4,8,5],[8,6,16,6],[17,0,17,5],[18,0,18,3],[18,4,18,5],[18,6,24,6],[25,0,25,5],[26,0,26,3],[27,6,32,6],[35,6,37,6],[41,0,41,3],[42,0,42,7],[43,0,43,7],[44,0,45,0],[44,1,44,3],[44,4,44,6],[44,7,45,7],[44,8,46,8],[48,0,48,5],[49,0,50,0],[49,1,49,2],[49,3,49,4],[49,5,50,5],[49,6,52,6],[54,0,54,3],[55,0,56,0],[55,3,56,3],[55,4,58,4],[60,0,60,7],[61,0,61,7],[62,0,63,0],[62,1,62,3],[62,4,62,6],[62,7,63,7],[62,8,65,8]]}
["一、访视阅片"]
["OCT-eICRF"]
[]
["分组-影像质量"]
["影像质量评估：正常|不正常"]
["质量问题："]
["质量备注："]
["分组-测量值（下载模板、导入数据）"]
["表-FCT",{"$nulls":5},"1、单位微米，测量值为整数，平均值有小数，取小数点后1位（四舍五入）【例71.0、34.5】\n2、数据通过表格导入。导入时需要验证数据格式是否符合要求"]
["【Plaque No.】","【1st. MEAS】","【2nd MEAS】","【3rd MEAS】","【Mean】"]
[1,"第一次测量值1","第二次测量值1","第三次测量值1","自动计算值A"]
[1,"第一次测量值2","第二次测量值2","第三次测量值2","自动计算值B"]
[1,"第一次测量值3","第二次测量值3","第三次测量值3","自动计算值C"]
[2,"第一次测量值1","第二次测量值2","第三次测量值1","自动计算值A"]
[2,"第一次测量值2","第二次测量值2","第三次测量值2","自动计算值B"]
[3,"第一次测量值1","第二次测量值2","第三次测量值1","自动计算值A"]
[3,"第一次测量值2","第二次测量值2","第三次测量值2","自动计算值B"]
["（以上为多记录，每1mm测量一组数值）"]
["表-脂质角度",{"$nulls":5},"1、单位度°，测量值为整数，平均值有小数，*取小数点后1位（四舍五入）【例138.0°、137.5°】\n2、数据通过表格导入。导入时需要验证数据格式是否符合要求"]
["【Plaque No.】","【MEAS】"]
[1,"测量值1"]
[1,"测量值2"]
[2,"测量值1"]
[2,"测量值2"]
[3,"测量值1"]
["（以上为多记录，每1mm测量1次）"]
["分组-评估结果"]
["表-斑块数据统计",{"$nulls":5},"1）根据表-FCT和表-脂质角度进行数据统计。\n2）待定指标为定性评估，需要阅片人手动选择\n2）斑块编号与表-FCT中一致，为聚类值。最多为3条记录，最少为1条记录"]
["【Plaque No.】","【FCTmin】","【FCTmean 】","【Lipid Anglemean】","【Lipid Anglemax】","这里要增加一个定性指标"]
[1,"自动计算值","自动计算值","自动计算值","自动计算值","评估：是/否、yes/no"]
[2,"自动计算值","自动计算值","自动计算值","自动计算值","评估：是/否、yes/no"]
[3,"自动计算值","自动计算值","自动计算值","自动计算值","评估：是/否、yes/no"]
[null,"*算法：平均值的最小值","*算法：平均值的平均值"]
[]
["访视点备注","文本",{"$nulls":4},"非必填，多行文本"]
["斑块1-匹配动脉段最小FCT","自动计算值","裁判问题",{"$nulls":3},"裁判问题（在阅片时不显示，值来源于表-斑块数据统计的，匹配动脉段最小FCT）.\n裁判条件：\n1、斑块数相同时，任一斑块最小FCT测量差异＞20微米，都会触发裁判；\n2、如果斑块数不同，则触发裁判。\n需要考虑如何保证序号相同的斑块是同一斑块，要求阅片人按照顺序进行标记斑块。"]
["斑块2-匹配动脉段最小FCT","自动计算值","裁判问题"]
["斑块3-匹配动脉段最小FCT","自动计算值","裁判问题"]
[]
[]
[]
["二、裁判阅片"]
["（一）当R1，R2标记的斑块数一样"]
["OCT-eICRF"]
["访视名称","第一阅片人(R1)",null,null,"第二阅片人（R2）",null,null,"查看详情","标记有3个斑块的"]
[null,"斑块1-匹配动脉段最小FCT","斑块2-匹配动脉段最小FCT","斑块3-匹配动脉段最小FCT","斑块1-匹配动脉段最小FCT","斑块2-匹配动脉段最小FCT","斑块3-匹配动脉段最小FCT"]
["访视1","数值","数值","数值","数值","数值","数值","R1   R2"]
[]
["OCT-eICRF"]
["访视名称","第一阅片人(R1)",null,"第二阅片人（R2）",null,"查看详情","标记有2个斑块的"]
[null,"斑块1-匹配动脉段最小FCT","斑块2-匹配动脉段最小FCT","斑块1-匹配动脉段最小FCT","斑块2-匹配动脉段最小FCT"]
["访视1","数值","数值","数值","数值","R1   R2"]
[]
[]
["OCT-eICRF"]
["访视名称","第一阅片人(R1)","第二阅片人（R2）","查看详情","标记有1个斑块的"]
[null,"斑块1-匹配动脉段最小FCT","斑块1-匹配动脉段最小FCT"]
["访视1","数值","数值","R1   R2"]
[]
[]
["（二）当R1，R2标记的斑块数不一样"]
["OCT-eICRF"]
["访视名称","第一阅片人(R1)",null,null,"第二阅片人（R2）",null,null,"查看详情","IR没有标记的斑块对应的值赋值为NE"]
[null,"斑块1-匹配动脉段最小FCT","斑块2-匹配动脉段最小FCT","斑块3-匹配动脉段最小FCT","斑块1-匹配动脉段最小FCT","斑块2-匹配动脉段最小FCT","斑块3-匹配动脉段最小FCT"]
["访视1","数值","数值","数值","数值","数值","NE","R1   R2"]

{"sheet":"各匹配片段测量值","index":2,"n_rows":12,"n_cols":3,"rows_kept":12,"merged":[[0,1,0,2],[1,1,1,2]]}
["受试者ID：","{Subject ID}"]
["任务名称：","{Read Nname}"]
["斑块编号","外弹力膜面积","管腔面积"]
[1]
[1]
[1]
[2]
[2]
[2]
[3]
[3]
[3]

{"sheet":"FCT","index":3,"n_rows":12,"n_cols":4,"rows_kept":12,"merged":[[0,1,0,3],[1,1,1,3]]}
["受试者ID：","{Subject ID}"]
["任务名称：","{Read Nname}"]
["斑块编号","第一次测量值","第二次测量值","第三次测量值"]
[1]
[1]
[1]
[2]
[2]
[2]
[3]
[3]
[3]

{"sheet":"脂质角度","index":4,"n_rows":10,"n_cols":2,"rows_kept":10}
["受试者ID：","{Subject ID}"]
["任务名称：","{Read Nname}"]
["斑块编号","测量值"]
[1]
[1]
[1]
[2]
[2]
[2]
[3]